## Template 96 Hour Chart
Last Updated: | DATE |  | 96 Hour Consumable Chart
Hours Impacted After Emergency Occurs | Assigned to: | Inventory on Hand | 0 | 2 Hrs | 8 Hrs | 16 Hrs | 24 Hrs | 32 Hrs | 40 Hrs | 48 Hrs | 56 Hrs | 64 Hrs | 72 Hrs | 80 Hrs | 88 Hrs | 96 Hrs | Comments | Key to Chart Colors
Generator Power | [17 empty] | Green | All patient, staff, and visitor services can continue without any discernable impact or change.
Fuel oil (all seasons) (Oil can start boilers too) | [17 empty] | Yellow | Selected patient, staff, or visitor services may be revised or terminated. Consider holding elective surgeries. It is likely that outpatient services may be suspended and conservation measures may be required
Natural gas (kitchen and grille) | [17 empty] | Red | Most or all incoming patients or visitors will be denied admission to the facility. Only the most critical services and life saving procedures will be continued. Inpatients will be transferred to other facilities according to need and criticality.
Water (Drinkable) | [17 empty] | PAR based on average census load. Depending on census and any infectious situation happening, will affect PAR.
Water (Used to deliver care and supply sterilizers)
Food/Nutritional Products
Liquid Oxygen
Medical Air
Medical Gasses
Nutritional Supplies
IV Solutions
Pharmaceutical Medications
Pharmacy Supplies
General Patient Supplies
Personal Protective Equipment
Laboratory
Linen
EVS Supplies
Sterile Supplies
Office Supplies
This chart assumes that the facility is "cut off" from the normal delivery of consumable supplies and that it must survive using on hand quantities

## Example
Last Updated: |  | DATE | 96 Hour Consumable Chart
Hours Impacted After Emergency Occurs | Assigned to: | Inventory | 0 | 2 | 8 | 16 | 24 | 32 | 40 | 48 | 56 | 64 | 72 | 80 | 88 | 96 | Comments | Key to Chart Colors
Generator Power | Maintenance | [16 empty] | Green | All patient, staff, and visitor services can continue without any discernable impact or change.
Fuel oil (all seasons) (Oil can start boilers too) |  | 8,000 gallons | 96 Hour Consumable Chart 0: enough to last a week |  | Yellow | Selected patient, staff, or visitor services may be revised or terminated. Consider holding elective surgeries. It is likely that outpatient services may be suspended and conservation measures may be required
Natural gas (kitchen and grille) | Nurition | None stored. | 96 Hour Consumable Chart 0: We have several external feeds for natural gas in different locations |  | Red | Most or all incoming patients or visitors will be denied admission to the facility. Only the most critical services and life saving procedures will be continued. Inpatients will be transferred to other facilities according to need and criticality.
Water (Drinkable) |  | 42 cases bottled water on pallet in CS - emergency use only | 96 Hour Consumable Chart 0: 80 ounces - 252 patients |  | PAR based on average census load. Depending on census and any infectious situation happening, will affect PAR.
Water (Used to deliver care and supply sterilizers) |  | None stored.
Food/Nutritional Products
Liquid Oxygen |  | 4.5 days on bulk, then 48 hours in reserve tank
Medical Air |  | as long as generators are running
Medical Gasses
Nutritional Supplies |  | Kitchen on emergency generator - have supplies for 96 hours
IV Solutions |  | 7 day PAR
Pharmaceutical Medications |  | 7 day PAR
Pharmacy Supplies |  | 7 day PAR
General Patient Supplies |  | 7 day PAR | 96 Hour Consumable Chart 0: The units will have 3 days PAR on the floors. Central stores will have 3 days "safety stock" available. Trucks deliver the next day. In an emergency, they can be here in three hours from Cranberry distribution center after we are on Coupa
Personal Protective Equipment |  | 7 day PAR
Laboratory |  | As long as water and generators - good for 96. If no emergency generators, no lab | 96 Hour Consumable Chart 0: If we have no city supplied water, we can transport Chemistry specimens to another ACL lab (or MCH, Corry or Bradford). We could still run Hematology, Coagulation, Urinalysis, Blood Bank and Histology
Linen |  | 24 hours additional storage in winter time | bar: 96 Hour Consumable Chart 56 to 96 Hour Consumable Chart 96
EVS Supplies
Sterile Supplies |  | Enough supplies as long as there is water to operate sterilizers
Office Supplies
This chart assumes that the facility is "cut off" from the normal delivery of consumable supplies and that it must survive using on hand quantities